## Slide 1
PMS 자재사양서
PMS Server (SEL-3355)
Ethernet Switch (SEL-2730M)
Discrete Programmable Automation Controller (SEL-2440)
Power Supply (SEL-9331A)
Modbus Gateway (Mgate MB3280)
DC Power Supply For Modbus Gateway (PRO ECO 72W)
LCD Monitor (LG 22인치 Full HD - 22MK430H)
Rack Panel (RMS 1875)
METi-2500S